## Slide 1: Monitoring Data Center – Environment
Data center monitoring is often focused on computers; monitoring system performance, tracking virtual workloads, and reacting to the inevitable warnings and alerts that spell trouble for servers, network or storage within the architecture.
Modern Monitoring now a days are even more granular and focus on environment factors as well like temperature ,humidity etc.
There are multiple tools that are available for monitoring but none of them can monitor all the aspects including voltages ,humidity ,temperature ,fan speeds etc.
It require good amount of planning and co-ordination for environment level of monitoring.
Lets Look into few environmental factors and how they are monitored.

## Slide 2: Monitoring Data Center – Environment
Monitoring Temperature
With the growth of Data Center maintaining temperature has become the most important factor in Data center.
Rack densities may vary inside Data Center and hence we often get cool spot and hot spot in Data Center
IT Administrators plan for installing Temperature sensors with network connectivity to monitor these hot and cold zones and maintain standard Data Center temperature.
Best practice of Data Center suggest one sensor on top of every rack where the temperature remains highest. Recommended temperature is 18 -25 degree Celsius.

## Slide 3: Monitoring Data Center – Environment
Monitoring Humidity and fluid
Chiller leak inside data center can create big business loss and even damage Data Center hardware.
Leak detection water sensors are used inside Data Center for keeping a close look on any leaks and hence trigger alarm and prevent water damage.
Sensors are required at all the places inside Data Center where fluids are present.
They can be standalone devices or even can be centralized for easy management
Sensors can also monitor humidity and areas of condensation
Having humidity sensors as a part of the internal and external rack sensor array will maintain regular levels of humidity control

## Slide 4: Monitoring Data Center – Environment
Monitoring Smoke/Fire
Smoke/fire alarms are needed at several locations throughout the facility to detect impending fire.
Alarms are generally placed with building fire suppression system. It can also be integrated with monitoring system for a quick turn around
Power is monitored from each power distribution system (PDS) and data is integrated.
Power monitoring can support continuous evaluation of Data Center Power usage effectiveness and report for any power faults for early diagnosis.
Some Data Center even integrate UPS monitoring for alarms and battery

## Slide 5: Monitoring Data Center – Environment
Managing alarms and Notifications
Uptime and data center efficiency have been the main justifications for implementing some sort of environmental monitoring controls
A centralized and well-managed system allows administrators to respond quickly to emergencies and help retain a higher uptime
Creating a Centralized alarm system is very essential for Data Center Up-time and health.
The issues can be prioritize by criticality and paid attention accordingly.

## Slide 6: Monitoring Data Center – Environment
Monitoring Data Center Remotely
Remote monitoring capabilities can help organizations keep an eye on their secondary or backup environments
Large organization even think of outsourcing the monitoring of Data Center for be more efficient.
The ability to see the health of remote facilities can help IT administrators respond to emergencies faster and bring their environments back to a healthy state.
External visibility into multiple sites helps IT Managers keep track of alerts ,alarms and other critical information about Data Center in one central place with large work force.

## Slide 7: Maintaining Data Center
Preventative maintenance ensures maximum reliability by taking precautionary and proactive steps to reduce unscheduled equipment downtime and other avoidable failures.
The purpose of preventive maintenance is to institute scheduled inspections so that defects can be spotted before they evolve into something more severe
Listing below few steps for best practice of Preventive Maintenance of Date Center
Safety First Approach
Data centers contain numerous hazards that can impact the life and health of technicians.
Data center technicians need to be aware of potential safety hazards when performing preventive maintenance activities
Provide regular safety training staff.

## Slide 8: Maintaining Data Center
2. Scheduled Maintenance and Inspection
Performing preventive maintenance on UPS and batteries greatly reduces the chance of failure during power outages
Regular preventive maintenance can reduce the chance of failure, reduce the amount of energy consumed and extend equipment lifetime.
Reviewing of equipment's manuals to see the manufacturer recommendations for a uninterrupted service.

## Slide 9: Maintaining Data Center
3. Standardized Checklists
Standardized checklists ensure technicians know what to do during the preventive maintenance ,ensuring same standard checks are performed every time.
Manufacturers recommended maintenance is a good point to start and this can be refined over time. Its termed as Standard operation procedure (SOP) ,Methods of Procedure (MOP) and Emergency operation procedure (EOP).
The above document should clearly mention the training and maintenance procedure.

## Slide 10: Maintaining Data Center
4. Check the HVAC Infrastructure
Focusing on Heating ,Ventilation ,Air Conditioning can help in maintaining the Data Center.
Reduce energy cost
Control Humidity and temperature variations.

## Slide 11: Maintaining Data Center
5. Get a CMMS
Computerized Maintenance Management Systems (CMMS), sometimes called Preventive Maintenance Software, enables the facility manager, subordinates and customers to track the status of maintenance work on their assets and the associated costs of that work in one comprehensive system.
CMMS software can help a data center drive down the cost of maintenance, increase asset life, improve reliability and productivity and reduce equipment downtime
It will also give the maintenance technician quick access to equipment information such as procedures, work order history and maintenance data, and metric indicators.
It ensures that preventive maintenance is performed regularly according to established protocols.